# Advanced Metrology EXAM

Date: 28.02.2025; 18:00

Delivery Date: 10.03.2025; 18:00

# General Rules

- Do NEVER send any files via mail. If you do so, you will fail immediately the exam. The reasons were explained in the lecture.

- Asking someone: That is certainly allowed. And recommended. Before you ask me, ask someone else, please.

- Instead upload files into studIP -> Your_Exam_Result

- Files to be uploaded: Report (pdf only), runnable code(s). DO NOT UPLOAD DATA! I have it already.

- The files should be named: Surname_Report.pdf, Surname_code.zip. Any other naming will cause confusion and work.

- You have to hand in your own report. That does not mean, that you have to work alone. It does mean, that you have to write your own report.

- On each Report on the first page: Your name, your Matr.Nr. is mandatory. If one it is missing, you will fail the exam.

- Reports should be readable, not perfect English, but understandable and contain all valuable information about the analysis you did.

- Figures should be readable -> Fonts not too small (copying from Matlab typically results in this), Annotations on the axis are mandatory.

- Figures and tables have captions and the links should be inside the text.

- AI: Text! Important!! Don’t use AI to get a better text. I can read and I can live with typos. Often AI provides you with a very good text which is slightly wrong in its meaning. Anyways, if you wish to, use it and you have to cite it. On every section you used it!

- AI: Coding! Important!! Don’t use AI for code snippets. We had this now several times, the code is working but doing something very wrong. A very good example is the SNR-computation. Ask AI for that, you get something. Use it and find out it is complete bullshit as a result.. Anyways, you have to cite the use of AI.

- Citation: Cite everything, what you did not generated on your own.

- Enroll to the exam!

# Your Data

As announced you are getting data from an echelle spectrograph. Specifically, you get the following frames:

- Dark frames (10): This is the detector without any light incident. You can read of the bias and make noise statistics for EACH pixel.

- Whitelamp (1): this is the spectrum of a continuous light source. It is given in Intensity / nm

- Flat_Frame (1): The light of the white lamp is send through the spectrograph. You can see different orders on the detector.

- CalibrationLamp (1): This is a calibration lamp with distinctive (and apparently very regular) spectral features. Also given in intensity/nm

- Calibration_Frame (1): The light of the calibrationLamp is send through the spectrograph. You can see the spectral features distributed across the orders.

# Your Task

First things first! Do the simple things:

- Describe your data (detector size, number of pixels…)

- Do statistics on the dark. For each pixel. Summarize it (don’t show the distribution for each pixel individually).

- Do statistics on the Flat_Frame -> find the underlying function of the flat by fitting the orders on the detector. (order-direction)

- Fit the distribution along the slit (slit-direction, perpendicular to the order direction)

- From the flat and using the whitelamp spectrum, you can actually determine the sensitivity of each pixel (only relative, just choose the strongest pixel to have a sensitivity of one…)

- CalibrationLamp: Find the peaks. (Findpeaks works, but fitting might be more precise)

- Calibration_Frame: Find the peaks in the orders. That is why you needed to fit the orders before… Find their peaks (again fitting) and provide a wavelength-solution to the detector. Try to find an estimate to the precision of the individual wavelength on a pixel.

- Use the information about bias and noise to improve the wavelength-solution and its precision.

Write everything into the report. Even if the fitting fails: Write it into the report, what was your approach and make a guess, why that failed…

# Additional Information

There is no overlap between the orders.

The highest wavelength is on the top left (may change during data conversion).